## Total Assembly
Model for Underground Data Definition and Integration (MUDDI) V1.2
Network-Wide and Area Categories & Code Lists
|  | Networks | Water | Sewer | Thermal Network | Electric | Fuel | Telecom | Chemicals | Transit | Street Beds and Sidewalks
|  | SubNetworks | Transmission | Collector Sewer | Steam (High Pressure) | Transmission | Gas (Methane) | Fiber Optic Cable | Acid | Underground Subway | Highways
|  |  | Distribution | Stormwater | Cooled Air | Distribution | Gasoline | Coax Cable | Base | Elevated | Bridges and Tunnels
|  |  | High Pressure (hydrants) | Sanitary | Warm Liquid | Direct Current (transit) | Unrefined Petroleum | Telephone Cable | Organic | Surface | Major Boulevards
|  |  | Standard Service Pressure | Combined | Cool Liquid |  | Jet Fuel |  | Non-Organic | Light Rail | Local Streets
|  |  |  | Outfall | [5 empty] | Trolley | Ramps: Underground Parking/Loading
Open Trench
|  | Network and Area Categories/Architypes | Measuring Units | Planning, Admin, Natural Areas | Relation to Ground Level | Ownership and Operator Info | Contextual Framework Layers | Contextual Layers: Operational Issues | Mandatory/Optional Data Categories | Location Reference Method Sub-Code List (For each network)
|  |  | Metric System | Wildlife Corridor | Overhead | Network Owner | Imagery | Potholes | Buried (Limited Available Data) | Photogrammetric Base Map, CRS, Specifications
|  |  | US Customary Measures | Conservation Area | Aboveground | Network Operator | Building Footprints | Subsidence | New Construction (Capture Before Burial) | Mixed Photogrammetric Base Maps
|  |  | KV | Former Industrial Site | Surface | Contact Information | Curb Lines | Gas Leaks | Excavation Exposure (Capture before closure) | Common Reference Points/Features
|  |  | MHZ | Special Scientific Interest | Trench | Complaint Number | Property Lines | Watermain Breaks and Leaks |  | Curblines
|  |  |  | Archaeological Site | Underground | Service Area Boundaries | Hydrography | Sewer and Catchbasin Backups/Clogs |  | Building Façade
|  |  |  | Tree Preservation Order | Submerged | Service Yard Locations | Elevation Above NAVD | Steam From Groundwater Contact With Steam Pipes |  | Street Centerline
|  |  |  | Wetland |  | Total Population Served | Streets and Sidewalks | Corridors of Vibration (transit lines) |  | Property Line
|  |  |  | Historical Site, Area |  |  | Surface Features | Truck and Heavy Traffic Corridors |  | GPS Points
|  |  |  | Zoning District |  |  | Visible Utility Lines | Areas of Heavy Construction |  | Survey Using Monuments, Control/Tie-In Points
|  |  |  | Service Area |  |  | Location Reference Method (See K-14) | Brownfields |  | Basemap Specifications (name, version, epoch)
|  |  |  | Water Bodies |  |  |  | Non-Supportive Soil Conditions |  | CADD Drawings
|  |  |  | Easements | [5 empty] | Paper, Mylar, other physical media
CODE LISTS For Network Objects and Attributes
|  |  | MUDDI Network Wide and Area Categories/Architypes |  |  | Code Lists for Objects by Utility Network Type |  | Code List for Network Objects By Function |  | Code Lists for Network and Accessory Attributes
|  |  | Utility Networks (Water, Sewer, Electric, Gas/Fuel/Chemicals, Telecom, Thermal, Transit) |  |  | Water System Objects | Fuel, Chemical, Gas | Type of Node/Joint | Street/Sidewalk Surface Objects | Location Methods (LOD), Value/Measure | Material Code List | Conveyance Mode | Date/Age (Date Values)
|  |  | Subnetworks: Transmission, Distribution, etc. |  |  | Water Pipe | Connection to Source | Same to Same Connection | Hydrant | Uppermost center line, Azmith | Metal | Pressure | Date Installed (Exact/Approx)
| Object and Attribute Code Lists | Supplemental Object Categories/Architypes | Owner/Operator Information |  |  | Water Sensor | Transmission Pipe | Branch/Split | Catchbasin Opening | XYZ at Uppermost Nodes and Mid-Link | Steel | Voltage | Age
|  |  | Measuring Units |  |  | Water Transmission Main | Distribution Pipe | Join/Merge | Transformer Cover | Measurements from Design/As Builts | Iron | Gravity | Dates of Excavation/Exam
|  | Environmental Object Categories/Architypes | Planning, Admin, Natural Areas |  |  | Distribution Main High P. | Service Connection | Service Connections | Manhole Cover | Measurements from Excavation | Aluminum | Vacuum | Life Expectancy
Attribute Sub-Code List | Geology Code List | Geology | Relationship to Ground Level |  |  | Distribution Main | Compression Facility | Inter-Utility | Water Test Station | Measurements from New Installation | Copper | Syphon | Date of Last Survey
Soils | Soils | Borehole, Cores | Location Reference Method |  |  | Hydrant | Sensor/Meter | Intra-Utility Connect to Facility | Street Light | Distance from Curb, Buildng, Property Line | Brass | Pump
Gravel | Hydrography | Ground Cover |  |  |  | Service Connection | Valve |  | Traffic Signal |  | Composite/Alloy/Treated | Bandwidth | Symbology (Line Style)
Sand | Bedrock |  | MUDDI Network Object Categories/Architypes | Network/Accessory Attribute Categories/Architypes |  | Water Joint (branch) | Storage Tank |  | Valve Access Cover | Depth Methods (LOD), Value/Measure | Plastic/glass |  | In Use, Being Built, Out of Service
Clay | Faults |  | Pipes/Cables | Location and Depth |  | Water Source Connection Valve |  | Node Seal Type/Device | Ventillation Cover/Grate | V. Datum/Depth from Street Elev. | PVC, uPVC | Conveyance Capacity (Numeric) | Default Values When Not Localized
Gravel | Contaminated Soils |  | Control/Measuring/Sensor Devices/SCADA | Dimensions (cylinder, rectangular container) |  | Water Facility (Filter, Treat) |  | Splice | Telecom Kiosk | Invert Measure | PEX | Pounds/Kilograms/Square
Mixed | Natural Obstructions (large rocks) |  | Nodes/Joints | Materials |  | Valve | Telecommunications Network Objects | Connector |  | Plan or As-Built Measure | HDPE, LDPE, MDPE | Mega/Kilo Volts | Operational Status
|  |  | Facility (Treat, Process) | Conveyance Method |  |  | Coaxial Cable | Coupling |  | Surveyed | Optical Fiber | Megahertz (MHz) | In Service
| Ground Cover Code List |  | Service Connections | Conveyance Capacity |  |  | Fiber Optic Cable | Adapter | Network Facility | Inferred, Estimated | ABS | Volume/Second | Proposed
| Street/Sidewalk Compositiion |  | Surface Features | Conveyance Characteristics |  | Sewer System Objects | Telephone Cable | Gasket/O-Ring | Reservoir | Traditional Practice | Pitchfiber |  | Under Construction
| Concrete |  | Yellow fill identifies network objects and attributes prioritized for the excavation use case | MultiMedia |  | Collection Sewer | Amplification Device | Terminator | Filtration Plant |  | Concrete; Related Materials | Conveyance Characteristics | Installed
| Asphalt | Non-Utility Structural Object Categories/Architypes |  | Data Quality Level |  | Local Sewer (Residential, Industrial) | Meter/Sensor | Socket | Valve Chamber | Dimension Method, Value/Measure | Asbestos (Transite) | Temperature | Commissioned
| Cobblestones | Foundations and Basements | Accessory Object Categories/Architypes | Type of Node/Joint |  | House Connection | Broadcast Facility | Junction | Wastewater Treatment Plant | Cylinder (Inner and Outer Diameter, Length, Thickness) | Reinforced Concrete | Pressure/Area | Out of Service
| Bricks | Tunnels and Passageways | Support Objects | Node Seal Type |  | Stormwater Catchbasin | Service Connection | Tap | Wastewater Pump Station | Conduit: (Polygon Measures, Shape Name/X-Section Diagram, Length, Thickness) | Ceramic | Flamability | Unfit for Service
| Grass, Shrubs, Trees | Buried Remnants | Container Objects | Date: Install Date, Age, Life Expectancy |  | Sewer Vent Duct | Antenna (Broadcast/Reception) |  | Electric Generation Facility | Cable: Outer Diameter, Conductive Diameter | GeoTextile | Contamination | Decommissioned
| Dirt/Bare Earth | Sidewalk Vaults | Access Objects | Symbology (Line Style) |  | Sewer Joint | Shut Off | Service Connections | Electric Substation |  | Brick | Volatility | Abandoned
|  | Ventillation Shafts (Auxilliary Objects?) | Identity Objects | Operational Status |  | Sewer Pump Station | SCADA/Signal Systems | Building/Structure | Thermal Generation Facility | Unique Identification (Value/Numeric) | Stone |  | Removed
| Buried Remnants Code List |  |  | Hazard/Sensitivity Determination |  | Treatment Plant Connect | Thermal Network Objects | Utility to Utility | Telecom Satellite Facility | Manufacturer Catalogue Number | Wood | MultiMedia
| Trolley Tracks |  | Accessory Object Code Lists | Unique Identification |  | Sewer Outfall Pipe | Generation Plant Connection | Surface Feature | Telecom Broadcast Facility | Utility Owner Unique ID |  | Photos, Videos | Hazard Determination (EM, Disast): Analytic
| Footings from Demo'd El's |  | Support Objects | Multi-Line/Conduit Association Method |  | Sewer Outfall Control Device | House/Service Connection | Hydrant | Fuel/Chemical Storage Tank | Database Assigned Unique ID | Data Source and Date Created | Written Documents | High, Medium, Low (Excav UC)
| Subsurfaces of Demo'd Buildings |  | Tower, Thrust Plate, Pole, Pad | Data Source, Placement Method, Accuracy |  | Shut Off Valve | Meter/Sensor | Fountains | Fuel/Chemical Pump Station |  | Design Drawings | Engineering Drawings | Greater Than Volts, Pressure, Temp
| Fuel Tanks/Chemical Storage Tanks |  | Foundation, Bed, Footing |  |  |  | Transmission Pipe | Street Lights | Fuel/Chemical Port Facility | Multi-Line/Conduit Association Method | As Built Drawings | Tap Cards | Single Points of Failure
| Abandoned Trenching Materials |  |  |  |  | Electric Power Network Objects | Distribution Pipe | Traffic Signals |  | Alongside, Parallel | CADD Drawings | Probe Data | Triggers for Cascading Effects
|  |  | Container Objects |  |  | Connection to Source | Service Connection | Fire/Police Call Boxes | Devices | Within (Outside/In Numbering) | Coordinate Reference System | Surface Sensor/Tracer Data | Below 500 Year Flood/Surge
|  |  | Conduit, Conduit Container |  |  | Transmission Line | Valve | Telecom Kiosks | Valve | Surrounded By (Inside/Out Numbering) | Distance from Curb, Building Parcel | Aerial and Satellite Data | Material Age>xx Years
|  |  | Tunnel, Utilidor, Dual Container/Network Object |  |  | Substation |  | Facility | Splice | Unique ID's Associated in Multi-Line Assemblage | Probe, Surface Sensor | Incident Information/Complaints | Flammability
[6 empty] | Transformer | Transit Objects | E-Vehicle Charge Station | Transformer |  | Photograph | X- Section | Contaminant/Poison
|  |  | Access Objects |  |  | Service Line | Stations |  | Meters | Data Source, Placement Method, Accuracy Measure | On Site Observation | Point of View Indicator | Vibration, Road Load
|  |  | Manhole/Vault Cover |  |  | Service Connection | Tunnels |  | Sensors | Paper records, CADD drawings, Common Practice |  |  | Caustic Soil Conditions
|  |  | Manhole/Vault |  |  | Meter/Sensor | Entrances |  |  | GPS, Survey, Measure from Curb, Bldg, Parcel | Data Quality Level |  | Underground Erosion
|  |  | Other Access Points |  |  | Shut Off Switch | AC to DC Substation |  |  | Remote Sensing, Probe, | ASCE 38-02: A,B,C,D |  | Construction Activity
|  |  | Emergency Exit |  |  | Generation Facility | Track and 3rd Rail |  |  | Rubber Sheeting, Conversion | PAS 128
|  |  | Subway Entrance |  |  |  | Trenches, Surface, El |  |  | +/- Feet/Inches; Meters/Centimeters | CSA S250
Identity Objects (and Attributes)
External ID (Color, Shape)
Marker/Locator Strip

## MUDDI High Level Concept Model
MUDDI High Level Conceptual Data Model, Excavation Use Case: Object and Attribute Categories/Architypes, Code Lists
Sub-Network and Area Code Lists
Wide Area/Network Categories/Architypes
Environmental Object and Attribute Code Lists | Environmental Object Categories/Architypes
|  | Network Object Categories/Architypes | Network Attribute Categories/Architypes | Network Object and Attribute Code Lists: Including Methods, Values, Analytics, LOD
Non-Utility Object and Attribute Code Lists | Non-Utility Object Categories/Architypes |  |  | Associated Use Cases, Examples, Descriptions, Metadata
Accessory Object Categories/Architypes: Support, Container, Access, Identify/Locate
Accessory Object and Attribute Code Lists